## Slide 1: Chapter 12: Traffic flow and activity pattern in Healthcare facilities

## Slide 2: Learning objectives
The significance of regulating traffic flow and defining activity patterns in health facilities
Designing traffic flow and activity patterns in procedure rooms, instrument processing and surgical areas.
The traffic flow requirements for different areas

## Slide 3: The significance of regulating traffic flow and defining activity patterns in health facilities
Regulating the flow of visitors, patients and the staff plays a central role in preventing disease transmission in healthcare facilities.
This is so for the number of microorganisms in a designated area tends to be related to that of the number of people present and their activity.

## Slide 4: …………….Continued
Microbial contamination is found to be high in areas such as waiting rooms and places where soiled surgical instruments and other equipment are initially processed.
Microbial contamination is minimized by reducing the number of people coming to the area and defining the activities taking place at each place.

## Slide 5: Continued …….
An important objective of infection prevention and control is to minimize the level of microbial contamination in areas where patient care and instrument processing take place.

## Slide 6: Continued …….
Regulating the flow of visitors, patients and staff prevents disease transmission
Microbial contamination is minimized by reducing the number of people permitted into an area and by defining the activities that take place
Such areas include:
Procedure areas
Surgical units
Work areas

## Slide 7: Continued
Procedure areas - are settings where patients are examined and procedures (e.g. pelvic examinations, wound care management, blood drawing, immunizations, IUD insertions and removals, and normal childbirth) are carried out.
Surgical units - are settings where major and minor operations are performed. The surgical unit also includes preoperative and recovery rooms as well as several other areas
Work areas - are settings where instruments are being processed. These include dirty and clean areas where soiled instruments, equipment and other items are first cleaned and either high-level disinfected or sterilized and then stored.

## Slide 8: Facility Design, SPACE AND EQUIPMENT REQUIREMENTS
Designating appropriate traffic flow for patients, health care workers (HCWs), and equipment to ensure safe separation between contaminated items and clean/sterile items.
Developing policies and procedures that establish clear authority, responsibility, and accountability to ensure that these safe practices are adopted and practiced.
Regulating the flow of visitors, patients, and staff using signs (e.g., authorized personnel only), reminders (e.g., red line on the floor), and physical barriers (e.g., closed doors). The amount of traffic and the number of individuals present in a designated area and their activities contribute to the number of microorganisms present in that area.

## Slide 9: Waiting Areas
General public (visitors, patients/clients, providers, administrative staff)
Microbial contamination tends to be higher if it is crowded.
No invasive procedures are performed.
Risks??? (droplet, airborne transmission)

## Slide 10: Procedure Areas
Limit traffic to authorized staff and patients.
Patients can wear their own clean clothing.
Staff should wear attire and PPE appropriate for the procedures being performed.
Decontaminate used materials at point of use.
Have a sharps disposal at point of use.
Segregate waste at point of use.
Have linen collection containers at point of use.

## Slide 11: TRAFFIC FLOW AND ACTIVITY PATTERNS
ICU and Isolation room
Limit traffic to authorized staff and patients at all times.
Permit only the patient and staff (performing and assisting) Only two family members should be limited at a time in one room for limited period of time in a day (wearing clean attire and head-cover).
Patients can wear their own clean clothing.
staff should wear attire and personal protective equipment (PPE) according to procedures performed. Family member who allowed to inter should wear head cover, face mask, gown and shoe cover above their clean close and shoe.
Family member who reported to have acute URTI should not be allowed to inter

## Slide 12: Surgical Unit
Surgical Unit: is often divided into four designated areas, which are defined by the activities performed includes;
Unrestricted area
Transition zone
Semi restricted area
Restricted area

## Slide 13: Surgical Unit
Unrestricted area:
Entrance from the main corridor
Staff, patients, and materials enter the surgical suite
Transition zone:
Dressing rooms and lockers
Staff put on surgical attire to move to semi-restricted and restricted areas
Only authorized personnel

## Slide 14: Semi-restricted Area
Limit traffic to authorized staff and patients at all times.
Have a work area for processing of clean instruments.
Have a storage area for clean and sterile items.
Have doors limiting traffic to the restricted area.
Staff should wear surgical attire and caps.
Staff should wear closed shoes that will protect their feet from fluids and dropped items.

## Slide 15: Restricted Area
Limit traffic to authorized staff and patients at all times.
Keep doors closed at all times except during movement of staff, patients, and equipment.
Scrubbed staff should wear full surgical attire and cover head and hair with a cap and mask.
Staff should wear clean, closed shoes that will protect their feet from fluids and dropped items.

## Slide 16: Restricted Area
Masks are required only when sterile supplies are open and scrubbed staff are operating.
Patients entering this area should wear clean gowns or be covered with clean linen, and have their hair covered.
Patients do not need to wear mask unless they are under droplet or airborne precautions.

## Slide 17: Work Area
The Central Supply Department consists of four areas:
The “dirty” receiving/clean-up area
The “clean” work area
The clean equipment storage area
Sterile or HLD area

## Slide 18: …..continued
Ensuring appropriate ventilation of OTs, procedure areas, CSSDs, and instrument processing areas.
Using fans in facilities without mechanical ventilation to optimize existing ventilation.
The air should be drawn into the area and should be exhausted outside using one-way exhaust fans.
Where mechanical ventilation or fans are not available, the only option is to use natural ventilation with open windows and doors fitted with mosquito nets.
Designing new facilities and renovations with these principles in mind

## Slide 19: TRAFFIC FLOW AND ACTIVITY PATTERNS
ICU and Isolation room
Limit traffic to authorized staff and patients at all times.
Permit only the patient and staff (performing and assisting) Only two family members should be limited at a time in one room for limited period of time in a day (wearing clean attire and head-cover).
Patients can wear their own clean clothing.
staff should wear attire and personal protective equipment (PPE) according to procedures performed. Family member who allowed to inter should wear head cover, face mask, gown and shoe cover above their clean close and shoe.
Family member who reported to have acute URTI should not be allowed to inter